## Sheet1
Demand forecasts for Year 2
Day | Location | Hour | Load Intercept | Load Slope | Load Intercept with EVs | Renewables Forecast
1 | North | 1 | 3628.1126 | -3.36
1 | North | 2 | 2968.6706 | -3.454
1 | North | 3 | 7697.72 | -3.0467
1 | North | 4 | 4369.7197 | -3.2958
1 | South | 1 | 8126.9649 | -3.0354
1 | South | 2 | 12684.5511 | -3.1938
1 | South | 3 | 11578.3977 | -3.2822
1 | South | 4 | 9935.8437 | -3.6483
2 | North | 1 | 5021.678 | -3.4251
2 | North | 2 | 5257.1589 | -3.5096
2 | North | 3 | 7142.9219 | -3.4123
2 | North | 4 | 4963.8787 | -3.2456
2 | South | 1 | 6330.1661 | -4.0007
2 | South | 2 | 9542.9643 | -3.5918
2 | South | 3 | 14840.9487 | -3.791
2 | South | 4 | 9777.4484 | -3.6265
3 | North | 1 | 3163.3391 | -2.9202
3 | North | 2 | 3201.8713 | -3.7403
3 | North | 3 | 7685.6046 | -3.18
3 | North | 4 | 4207.1298 | -3.8242
3 | South | 1 | 7430.163 | -2.9956
3 | South | 2 | 12288.0411 | -3.3439
3 | South | 3 | 13625.1654 | -3.5261
3 | South | 4 | 11068.2894 | -3.2216
4 | North | 1 | 3615.6099 | -2.8888 | 6596 | 308
4 | North | 2 | 3134.2833 | -3.7224 | 4134 | 1350
4 | North | 3 | 8426.8047 | -3.2473 | 9427 | 5500
4 | North | 4 | 4268.3369 | -3.7607 | 9178 | 457
4 | South | 1 | 8520.8785 | -2.9653 | 13780 | 800
4 | South | 2 | 12609.6134 | -4.1043 | 8790 | 3600
4 | South | 3 | 13811.6771 | -3.4415 | 12350 | 7345
4 | South | 4 | 10951.9264 | -3.5016 | 14211 | 770
In each hour, demand is given by:
Q=LoadIntercept+LoadSlope*P
The intercept term ("LoadIntercept") is a forecast. Actual LoadIntercept
is a random variable that has a normal distribution with a mean equal
to the forecast of LoadIntercept and a standard deviation equal to 3% of the forecast of LoadIntercept
(i.e., the uncertainty is a horizontal shift of the demand function)
There is no uncertainty in the Load Slope
During day 2 (and only day 2) of year 2, the transmission line between the North and South will be reduced to 500 MW.
Renewables Forecast is similar to the load intercept in that it is a random variable that has a normal distribution
with a mean equal to the forecast and a standard deviation equal to 3% of of the forecast.